## Summary
Field | Value
Contractor | JUTE DESIGN AND MANAGEMENT INC
Permits on public record | 20 permits
Earliest permit on record | 2018
Most recent permit on record | 2026
Municipality | City of Vancouver
Declared construction value (sum of values on record) | $3,025,000
Permits carrying a declared value | 20 of 20 (100.00%)
Provenance / confidence | Compiled from municipal building-permit records (first-party permit record)
Generated | 2026-07-08
Note | Declared values are public-record values stated on the permit application; they are not estimates, appraisals, or a quality signal. CanPermits surfaces public permit records only and does not verify identity, licensing, or other business credentials.

## Project type
Project type (source field) | Permits
Addition / Alteration | 20

## Value distribution
Declared value band | Permits
Under $10K | 1
$10K – $50K | 3
$50K – $250K | 12
$250K – $1M | 4
Median declared value | $100,000
Lowest declared value | $5,000
Highest declared value | $500,000

## Activity by year
Year | Permits | Declared value
2018 | 1 | 110000
2019 | 4 | 390000
2020 | 5 | 725000
2021 | 1 | 200000
2022 | 2 | 580000
2023 | 2 | 360000
2024 | 4 | 310000
2025 | 0 | 0
2026 | 1 | 350000

## Permit timeline
Date | Permit type | Work type | Building use | Description | Address | City | Municipality | Declared value | Status | Confidence | CanPermits link
2026-01-29 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | Health Care Office | Field Review - Addition / Alteration - 530-1575 W Georgia St Interior alterations to provide first tenant improvements and change of use from Office Shell (D) to Healthcare Office (D) (approx. 3467 sq ft) for a new healthcare office tenant at #530 on the 5th floor of this existing commercial building on this site. Scope of work: new partitions, doors, electrical, lighting, mechanical, plumbing, finishes, millwork, furniture and equipment Okay for Field Review as per Isidora Celic December 17, 2025 Schedule A provided by Satwick Shetty, P.Eng ¦ Aquavolt Engineering Ltd ¦ 778-360-1251 Schedule B (Mechanical/Plumbing) provided by Satwick Shetty, P.Eng ¦ Aquavolt Engineering LTD. ¦ 778-360-1251 Schedule B (Electrical) provided by Abdul El-Haddad, P.Eng. ¦ Aquavolt Engineering Ltd.¦ 778-360-1251 This permit was reviewed under VBBL 2025. | 1575 W GEORGIA STREET #530 | Vancouver | City of Vancouver | 350000 | issued | first-party permit record | https://canpermits.com/permit/59943
2024-08-13 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | Restaurant - Class 1 | Field Review - Addition / Alteration - 1203 DAVIE ST Interior alterations to provide tenant improvements to existing Restaurant Class 1 (Blenz Coffee Shop) in commercial building on this site. Scope of work to include replacement of all counters, coffee station, millwork, furniture and finishing upgrades, lighting and plumbing upgrades. Ok for Field Review per S. Jordan 9 July 2024 | 1203 DAVIE STREET | Vancouver | City of Vancouver | 95000 | issued | first-party permit record | https://canpermits.com/permit/51571
2024-03-19 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | General Office, Textile or Knit Goods Manufacturing | Field Review - Addition / Alteration - #102 Interior alterations to provide tenant improvements for Textiles or Knit Goods Manufacturing with accessory office and retail use in this unit #102 in this existing industrial building (334 E Kent Ave South) on this site. Ok for Field Review per J. Zhang, Jan 8, 2024 | 334 E KENT AVENUE SOUTH | Vancouver | City of Vancouver | 15000 | issued | first-party permit record | https://canpermits.com/permit/50098
2024-03-06 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | Health Enhancement Centre | Field Review - Addition / Alteration - Related to DP-2023-00837 Interior alterations to provide improvements for a new Health Enhancement Centre tenant at #501 - 107 E 3rd Av in this existing mixed-use (Commercial/Industrial) building. Revision #1 for VCH to review cold plunges on the plan ID.8. OK for field review as per Eun Jeon Processed through CRC New plumbing, new electrical & lighting, new layout, new interior finishes Re and re sprinkler heads, new sheet metal | 107 E 3RD AVENUE | Vancouver | City of Vancouver | 150000 | issued | first-party permit record | https://canpermits.com/permit/50097
2024-01-11 | Addition / Alteration | Renovation - Residential - Lower Complexity | Multiple Dwelling | Direct to Inspections - Addition / Alteration - #101 Interior alterations to provide improvements to dwelling unit #101 on the ground floor of this existing multiple dwelling building on this site. OK for DTI per W. Wong December 15, 2023 | 2880 OAK STREET | Vancouver | City of Vancouver | 50000 | issued | first-party permit record | https://canpermits.com/permit/52363
2023-12-11 | Addition / Alteration | Renovation - Residential - Lower Complexity | Dwelling Unit | Direct to Inspections - Addition / Alteration - #3402 Interior alterations to provide improvements to dwelling unit #3402 on the 34th floor of this existing multiple dwelling building on this site. OK for DTI per W. Wong Revision#1 to change existing primary ensuite bathtub to shower. | 1111 RICHARDS STREET #3402 | Vancouver | City of Vancouver | 110000 | issued | first-party permit record | https://canpermits.com/permit/48627
2023-09-20 | Addition / Alteration |  | Restaurant - Class 1 | High Density Housing / Commercial - Addition / Alteration - Exterior and interior alterations to provide tenant improvements for the new tenant at this existing Restaurant - Class 1 (Group A2) unit on the ground floor of the mixed use building. Scope of work includes installation of new kitchen equipment, exhaust hood, interior partitions, seating areas and finishes. Exterior scope includes installation of new rooftop exhaust fan and screen. Building Review Notes: - Proposed occupant load is 100 persons (interior 56, staff 12 and future patio 32). Maximum occupant load cannot exceed 100 persons plus staff due to washroom capacity restriction. - Patio requires a separate DP & BP. - Rooftop screen for the exhaust fan is supported as per B. Dufix. Mechanical Review Notes: 1. Class 1 cooking operations (Grease-Laden Vapours). 2. Commercial kitchen exhaust system to NFPA 96 (Type 1 hood). *** Reviewed under the VBBL 2019 *** | 988 DAVIE STREET | Vancouver | City of Vancouver | 250000 | issued | first-party permit record | https://canpermits.com/permit/48625
2022-09-09 | Addition / Alteration | Renovation - Residential - Lower Complexity | Single Detached House | Field Review - Addition / Alteration - Exterior and interior alterations to renovate this existing 1FD. Scope of work: new interior wall, replace flooring, update existing electrical, replace new tiling. DBI to determine if P.eng required when framing exposed. | 1346 W 53RD AVENUE | Vancouver | City of Vancouver | 500000 | issued | first-party permit record | https://canpermits.com/permit/42298
2022-09-02 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | Restaurant - Class 1 | Field Review - Addition / Alteration - Interior alterations to provide improvements to this existing Restaurant Class -1 of this existing building on this site. Related to CF-2022-005115 Notes: - Energy Upgrade: E2 - Lightning - Upgrade to incorporate Scheduled Shutoff (per 9.4.1.1.(i) of ASHRAE 90.1-2016) - The building is sprinklered | 1615 ROBSON STREET | Vancouver | City of Vancouver | 80000 | issued | first-party permit record | https://canpermits.com/permit/7815
2021-05-21 | Addition / Alteration |  | General Office | High Density Housing / Commercial - Addition / Alteration - #600 - 6th floor Interior alterations to relocate partition walls for new office tenant on the 6th floor (#600) and exterior alterations this existing Municipally designated Heritage A commercial building to create a secondary exit at the roof level of by adding a walkway and handrails plus a new rooftop deck. Scope of work: remove/construct partition walls and doors for 2 washrooms, lounge, offices and meeting room, new finishes, lighting, ceiling work, electrical and plumbing work. Exterior alteration to add new walkway and handrail. OK for field review per L. Clarke Sept 20, 2019 **UPDATE: Field Review Rejected. Application will be reviewed by Building Review Branch ** Note: 1). Architectural Schedule B submitted by Danny Ka Wai Wong, Architect, ph: 604-773-2068 2). L2 - Lighting - Upgrade to incorporate Scheduled Shutoff (per 9.4.1.1.(i) of ASHRAE 90.1-2016)\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t ********************************************** Heritage Alterations Permit Exterior alterations to this existing Municipally Designated Heritage "A" commercial building on this site, as permitted by item #1 below: 1) Exterior alterations to create secondary exit at the roof level by adding walkway and handrails. The alterations described under item no. 1 above, authorized by Development Building Permit Number DB-2019-04222, including conditions and plans forming part thereof, are approved under the Heritage By-law and this Development Building Permit also constitutes a Heritage Alterations Permit. | 425 CARRALL STREET | Vancouver | City of Vancouver | 200000 | issued | first-party permit record | https://canpermits.com/permit/36658
2020-07-20 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | Wholesaling - Class A | Field Review - Addition / Alteration - Interior alterations to expand 1566 Rand into a portion of 1562 Rand for this existing wholesale with ancillary office tenant. ok for field review per K.Vogt Building is not sprinklered | 1566 RAND AVENUE | Vancouver | City of Vancouver | 20000 | issued | first-party permit record | https://canpermits.com/permit/30905
2020-07-13 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | General Office | Field Review - Addition / Alteration - 1562 Rand Avenue Interior alterations to provide tenant improvements for a new office tenant with ancillary textiles manufacturing and wholesale (showroom and online retail) tenant (Group D Occupancy) in this existing industrial building. Tenant: Felicia Lo - Sweet Georgia Yarns Ancillary uses less than 1/3 of the space Ok for field review per K Vogt/Jamie Steen May14 /20 Scope of work includes new walls, interior finishes, plumbing and electrical work District Building Inspector to determine if a Schedule B is required for removal of the wall Energy Upgrade Selected: E2 - Lighting - Upgrade to incorporate Schedule Shutoff per 9.4.1.1.(i) of ASHRAE 90.1-2016 | 1562 RAND AVENUE | Vancouver | City of Vancouver | 100000 | issued | first-party permit record | https://canpermits.com/permit/32601
2020-07-06 | Addition / Alteration |  | Health Care Office, Restaurant - Class 2 | High Density Housing / Commercial - Addition / Alteration - UNIT #105 Interior alterations only and change of major occupancy from Restaurant - Class 1 to Health Care Office (Dermatological Office). Scope of work includes replacing washrooms on the second floor with a staff room. OK for BP only as per Jamie Zhang on Feb 14, 2020. Sch A, Arch B, Mech B, Plmb B, & Elec B are submitted. ******THIS PERMIT HAS BEEN ISSUED UNDER THE REQUIREMENTS OF VBBL 2019******** Processed during the 2020 Pandemic. Building Review Branch Note: - All new work shall conform to VBBL 3.1.5. Noncombustible Construction. New interior glazing shall have a flame spread rating not more than 75 as per VBBL 3.1.5.4.(3). - Accessible design is in accordance with VBBL 3.8.3. At main suite entrance, signage directing to accessible entrance to the suite via elevator shall be provided as per VBBL 3.8.3.9. - Exit signs shall be ISO graphic and existing exit signs along the exit path from the suite through the lobby to the outside and through the rear exterior exit passageway shall be updated as per BULLETIN 2015-006-BU. | 805 W BROADWAY | Vancouver | City of Vancouver | 500000 | issued | first-party permit record | https://canpermits.com/permit/31849
2020-05-22 | Addition / Alteration | Renovation - Residential - Lower Complexity | Multiple Dwelling | Field Review - Addition / Alteration - #1009 - 10th floor Interior alterations to the existing dwelling unit, #1009 on the 10th floor in this existing Multiple Dwelling building on this site. Scope of work includes: removal of the existing bathtub and wall tile. Replace with a new shower, install new sub floor and wall tile. No changes to layout, electrical, lighting, existing floor tile, counters toilet and sink to remain as is. OK For Field Review per A.Campbell - March 9, 2020. Notes: Energy Upgrade: Building Sprinklered | 5380 OBEN STREET #1009 | Vancouver | City of Vancouver | 5000 | issued | first-party permit record | https://canpermits.com/permit/32663
2020-04-03 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | General Office | Field Review - Addition / Alteration - #330 - 3rd Floor Interior alterations to provide the first tenant improvement to this office (shell) space on the 3rd floor (#330) in this existing commercial building. Scope of work: complete tenant fit out including new walls, millwork, HVAC, finishes, electrical, plumbing, sprinklers. Building Sprinklered – Separate sprinkler permit required for proposed sprinkler work OK for Field Review per Ian Batt - Feb 27, 2020 Processed THRU Fit | 34 W 7TH AVENUE | Vancouver | City of Vancouver | 100000 | issued | first-party permit record | https://canpermits.com/permit/33424
2019-12-06 | Addition / Alteration | Renovation - Residential - Lower Complexity | Dwelling Unit | Field Review - Addition / Alteration - #204 - 2nd floor Interior alterations to provide tenant improvements for this space (#204) on the 2nd floor of this existing residential use building Scope of work: install interior wall, new millwork, electrical & plumbing fixtures, and new appliances. Building Sprinklered – Building inspector to determine on site if a separate sprinkler permit is required. OK for Field Review - Oct 25/19 The work was designed to Vancouver Building Bylaw 2014 Processed Thru FIT | 1155 MAINLAND STREET #204 | Vancouver | City of Vancouver | 100000 | issued | first-party permit record | https://canpermits.com/permit/26938
2019-09-04 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | Production or Rehearsal Studio | Field Review - Addition / Alteration - Interior alterations and change of use to this existing wholesale (F2) space for new production studio (F2) tenant in this existing industrial building with work to include new partition walls, washroom, lunchroom and two shipping containers converted to office areas. Ok for field review per L Clarke Aug 1/2019 ok for containers per L Jayaraman | 1990 PANDORA STREET | Vancouver | City of Vancouver | 200000 | issued | first-party permit record | https://canpermits.com/permit/29097
2019-07-03 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | General Office | Field Review - Addition / Alteration - #102 - ground floor Interior alterations to provide tenant improvements to this existing office unit 102 on ground floor level of this existing commercial/residential building. Scope of work includes : remove/construct partition walls and doors, and electrical and sprinkler work. OK for field review as per C.Yue on June 21/19 Selected Energy Upgrade: L2 - Lighting - Upgrade all hard wired Lighting within scope of work area to High Efficiency light systems\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t\t | 1012 BEACH AVENUE #102 | Vancouver | City of Vancouver | 15000 | issued | first-party permit record | https://canpermits.com/permit/7814
2019-06-05 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | Fitness Centre - Class 1 | Field Review - Addition / Alteration - Interior alterations to change of use to Fitness Center(D) and provide improvements to this unit at this existing mixed-use building on this site. Total occupant load 24 persons - low occupant load A2 per 3.1.2.6 OK for field review as per Jamie Zhang, Apr.26/19 ___________________________________________________ REV #1 1) Change the door swing to inwards in lieu of outwards to common corridor from Studio A. | 88 E BROADWAY | Vancouver | City of Vancouver | 75000 | issued | first-party permit record | https://canpermits.com/permit/29096
2018-11-15 | Addition / Alteration | Renovation - Commercial/ Mixed Use - Lower Complexity | Retail Store | Field Review - Addition / Alteration - #55 - To permit interior alterations to provide a first tenant improvement to this existing Retail Shell to create a Gelato Shop. Ok For Field Review as per A. Campbell August 29/2018 Rev. #1, January 30, 2019 To delete Fire Suppression from the building permit as a different plan provided under Sprinkler Permit. New Mechanical and plumbing schedule submitted. | 55 SMITHE STREET | Vancouver | City of Vancouver | 110000 | issued | first-party permit record | https://canpermits.com/permit/20672