## Summary
Field | Value
Contractor | Corecraft Construcion Ltd
Permits on public record | 1 permits
Earliest permit on record | 2022
Most recent permit on record | 2022
Municipality | City of Vancouver
Declared construction value (sum of values on record) | $720,500
Permits carrying a declared value | 1 of 1 (100.00%)
Provenance / confidence | Compiled from municipal building-permit records (first-party permit record)
Generated | 2026-07-10
Note | Declared values are public-record values stated on the permit application; they are not estimates, appraisals, or a quality signal. CanPermits surfaces public permit records only and does not verify identity, licensing, or other business credentials.

## Project type
Project type (source field) | Permits
Addition / Alteration | 1

## Value distribution
Declared value band | Permits
$250K – $1M | 1
Median declared value | $720,500
Lowest declared value | $720,500
Highest declared value | $720,500

## Activity by year
Year | Permits | Declared value
2022 | 1 | 720500

## Permit timeline
Date | Permit type | Work type | Building use | Description | Address | City | Municipality | Declared value | Status | Confidence | CanPermits link
2022-10-12 | Addition / Alteration |  | Motor Vehicle Repair Shop | High Density Housing / Commercial - Addition / Alteration - Interior and exterior alterations and Change of Use from Wholesale Class A to Motor Vehicle Repair Shop (Group F2). Scope of work includes installation 2 new spray booths, a new mix room, a new electrical area, 6 new rooftop units and rooftop vents, new kitchenette, new trench drain for car wash, and new columns and pad footings. OK to waive DT fee for trench drain as per Erv Hildebrandt on Apr 25, 2022. Sch A, Arch B, Mech B, Plmb B, Fire Suppression B (wet chem), Elec B, & Sch D are submitted. Occupant Load = Max 100 persons Tenant: Kirmac Automotive Collision System Inc. ******REVIEWED UNDER THE PROVISIONS OF VBBL 2019******** Building Review Branch Notes: - Permanent signage with the occupant load shall be posted in a conspicuous location. - Mix room door size shall be min 3' as per VBBL 3.8.3.6.(2) and its aisle inside shall be min 1m as per VFBL 4.2.9.3. REVISION #1 (Mar 08/23): OK for exterior alteration as per Benjamin Dufix on Feb 03, 2023. - Changed applicant and contractor from Diana Kwak at Fusion Projects to Corey Pfingsten at Corecraft Construction Ltd. Updated architectural drawing title block accordingly. - Replaced existing windows, existing exterior doors, and existing stair enclosure walls. - Mounted overhead guide rail at vehicle work bay to underside of roof and refurbished the existing lunch room on the lower floor. | 732 SW MARINE DRIVE | Vancouver | City of Vancouver | 720500 | issued | first-party permit record | https://canpermits.com/permit/44329