## Summary
Field | Value
Contractor | Fairlands Custom Homes Ltd
Permits on public record | 8 permits
Earliest permit on record | 2017
Most recent permit on record | 2023
Municipality | City of Vancouver
Declared construction value (sum of values on record) | $3,533,335
Permits carrying a declared value | 6 of 8 (75.00%)
Provenance / confidence | Compiled from municipal building-permit records (first-party permit record)
Generated | 2026-07-09
Note | Declared values are public-record values stated on the permit application; they are not estimates, appraisals, or a quality signal. CanPermits surfaces public permit records only and does not verify identity, licensing, or other business credentials.

## Project type
Project type (source field) | Permits
New Building | 5
Salvage and Abatement | 2
Demolition / Deconstruction | 1

## Value distribution
Declared value band | Permits
$10K – $50K | 1
$50K – $250K | 2
$250K – $1M | 1
$1M and over | 2
Median declared value | $466,792
Lowest declared value | $15,000
Highest declared value | $1,310,250

## Activity by year
Year | Permits | Declared value
2017 | 1 | 703350
2018 | 3 | 1505250
2019 | 3 | 1094500
2020 | 0 | 0
2021 | 0 | 0
2022 | 0 | 0
2023 | 1 | 230235

## Permit timeline
Date | Permit type | Work type | Building use | Description | Address | City | Municipality | Declared value | Status | Confidence | CanPermits link
2023-04-17 | New Building | New Build - Standalone Laneway | Laneway House | Low Density Housing - New Building - To construct a 2 storey laneway house building ($230,235) with 1 open parking pad, providing a total of 1 parking spaces, having vehicular access from the 20' Lane. Note: This is a 1 ½ storey building pursuant to the Zoning & Development By-law. 1.\tCovenant not required with existing house 2.\tNo Strata Titling permitted 3.\tNo A/C Unit proposed 4.\tEntire building to be sprinklered 13D 5.\tSchedule B: (Zhi Yi You) P.Eng (778.302.2155) Structural 6.\tSchedule B: (Zhi Yi You) P.Eng (778.302.2155) Geotechnical 7.\tHPO: Residential Builder- Fairlands Custom Homes Ltd. 8.\tHRV is required for laneway house as of year 2022 NOTE: To achieve the required FSR. A floor space exclusion of 3% has been applied to this application as per section 11.24.18 of the district schedule, to accommodate improved building performance. Address Information: Principle Dwelling: 2908 W 23RD Ave Laneway home: 3939 Mackenzie St Address and suite numbers assigned as per approved plans for Fire and Emergency response. The address number is to be posted to the building to be visible from the street and the suite numbers are to be posted at the suite entries in accordance with the Building By-law prior to final inspection. NOTE: Information regarding the principal building on the survey and site plan is for reference only. Any discrepancy between information regarding the principal building on the survey and/or site plan and approved permit drawings for the principal building are neither approved nor authorized under this laneway house permit. *EXISTING HOUSE* Note: Bldg 1 (principal bldg) addressed 2908 W 23RD Ave retained on site. ***This permit is issued under the VBBL 2019, with updated energy requirements as per bylaw # 12997 effective Jan 01, 2022.***. | 3939 MACKENZIE STREET | Vancouver | City of Vancouver | 230235 | issued | first-party permit record | https://canpermits.com/permit/46803
2019-10-29 | Demolition / Deconstruction |  | Single Detached House | Enquiry Centre - Demolition / Deconstruction - To demolish the existing one family dwelling building on this site. Pre-1940 recycling requirement exempt due to fire damage. OK for field review as per C.Yue on Oct 15/18 No structural required as per J.Steen on Oct 16/18 "Notice of Demolition must be provided to District Building Inspector 24 hours in advance of demolition by calling 3-1-1 or 604-873-7000 outside of Vancouver." The deconstruction shall be in accordance with the submitted deconstruction plan and to be confirmed through an acceptable Deconstruction Compliance Report form with copies of recycling and disposal facility receipts. Attach all receipts and submit by email to compliancereport@vancouver.ca. All deconstruction is to be completed to the satisfaction of the Director of Planning prior to the issuance of the building permit. | 2250 SW MARINE DRIVE | Vancouver | City of Vancouver | 15000 | issued | first-party permit record | https://canpermits.com/permit/27837
2019-05-23 | New Building | New Build - Low Density Housing | Duplex w/Secondary Suite | Low Density Housing - New Building - To construct a 2 storey two-family dwelling with a secondary suite located in the Basement of each unit ($1,079,500). 1- Two-Family Dwelling with Two Secondary Suites Covenant registered at the Land Title Office under CA7483749 2- No strata titling permitted 3- A/C unit proposed in rear yard 4- Schedule B, Jianli Guo P.Eng (604.526.1305) Structural & Geotechnical 5- HPO - Residential Builder - Fairlands Custom Homes Ltd. 6- Deconstruction Work to be completed, deconstruction permit to be finalized by inspector prior to the commencement of construction of the Main House This is a 2 storey building pursuant to the Zoning and Development By-Law ******THIS PERMIT HAS BEEN ISSUED UNDER THE REQUIREMENTS OF VBBL 2014 AND THE GREEN HOMES PROGRAM****** WEST UNIT 729 E 24th Av - Principal Dwelling (west portion of 1st & 2nd floor)* 727 E 24th Av - Secondary Suite (west portion of basement) EAST UNIT 731 E 24th Av - Principal Dwelling (east portion of 1st & 2nd floor) 733 E 24th Av - Secondary Suite (east portion of basement) Addresses assigned per approved plans. Building numbers are to posted and be visible from the street in accordance with the Building By-law. | 729 E 24TH AVENUE | Vancouver | City of Vancouver | 1079500 | issued | first-party permit record | https://canpermits.com/permit/27836
2019-05-13 | Salvage and Abatement |  | Single Detached House | Enquiry Centre - Salvage and Abatement - Interior alterations to allow salvage of non-structural building components prior to or during abatement work and removal of non-structural hazardous materials in this existing single family dwelling building Qualified Professional - Tarlochan (Terry) Sunar with MCA Environmental Consulting Inc. Related Demo BP-2018-05415 | 2250 SW MARINE DRIVE | Vancouver | City of Vancouver |  | issued | first-party permit record | https://canpermits.com/permit/9138
2018-10-10 | New Building | New Build - Low Density Housing | Single Detached House | Low Density Housing - New Building - To construct a 2 storey + cellar one-family dwelling with a detached accessory building (garage) at the rear providing 3 parking spaces, having vehicular access from the lane. Note: This is a 2 storey building pursuant to the Zoning and Development By-Law 1- Bar/Sink proposed in Cellar; Max. 8' permitted. 2- A/C unit proposed in the rear yard 3- No Secondary suite Proposed 4- Architectural, Structural and Geo technical Engineer: Makhan S. Dhillon (604-537-6271) 5- HPO: Fairlands Custom Homes Ltd. Revision #1: Gas appliances added in rear yard (heater, BBQ, and generator) * Solid Soffit on the west side of garage, and the door should be 1 Hr. F.R.R. "Combustible projections or roof soffits on an exposing building face shall not project to less than .45m from the property line and shall be in compliance with VBBL 2014 9.10.15.5.(9)" The entire building, INCLUDING THE ATTACHED GARAGE (if applicable), to be sprinklered to NFPA 13D. Any alterations or conversions to the attached garage (if applicable) to habitable living space shall not be permitted without first obtaining the approval of the Director of Planning and the Chief Building Official. Thermal protection measures and Laneway house design guidelines shall be required to be met prior to the approval of the conversion. ******THIS PERMIT HAS BEEN ISSUED UNDER THE REQUIREMENTS OF VBBL 2014 AND THE GREEN HOMES PROGRAM****** | 1308 W 50TH AVENUE | Vancouver | City of Vancouver | 1310250 | issued | first-party permit record | https://canpermits.com/permit/19357
2018-05-10 | New Building | New Build - Standalone Laneway | Laneway House | Low Density Housing - New Building - To construct a 1 ½ storey laneway house building ($195,000) with an attached garage and 1 open parking pad, providing a total of 2 parking spaces, having vehicular access from the lane. Note: This is a 1 ½ storey building pursuant to the Zoning & Development By-law 1- Covenant registered at the Land Title Office under CA6634606 2- No Strata Titling permitted 3- No A/C unit proposed 4- Schedule B: M.S. Dhillon P.Eng (604.537.6271) Structural & Geotechnical 5- HPO Required: Residential Builder - Fairlands Custom Homes Ltd. =Address has been assigned per the approved plans as the fire/emergency access to the laneway house is from the West side. This access must be provided & maintained at all times in accordance with the Building By-law. ******THIS PERMIT HAS BEEN ISSUED UNDER THE REQUIREMENTS OF VBBL 2014 AND THE GREEN HOMES PROGRAM****** | 4382 W 9TH AVENUE | Vancouver | City of Vancouver | 195000 | issued | first-party permit record | https://canpermits.com/permit/23444
2018-04-18 | Salvage and Abatement |  | Single Detached House | Low Density Housing - Salvage and Abatement - Salvage and Abatement permit only and to be completed under the supervision of a registered professional. This permit does not authorize demolition, deconstruction or construction work. Qualified Professional: Tarlochan (Terry) Sunar of MCA Environmental Consulting Inc. (604) 805-1344 Building Permit: DB-2018-00861 Demolition Permit: DB-2018-00862 | 1308 W 50TH AVENUE | Vancouver | City of Vancouver |  | issued | first-party permit record | https://canpermits.com/permit/7121
2017-08-10 | New Building | New Build - Low Density Housing | Single Detached House | Low Density Housing - New Building - To construct a 2 storey + basement one-family dwelling with a detached accessory building (garage), at the rear providing 2 parking spaces, having vehicular access from the lane. 1- Bar/Sink proposed in rec. room on basement floor 2- A/C unit proposed at rear 3- B1/B2. Dr.Z. Zhao P.Eng (604-526-1305) Structural & Geotechnical 4- HPO - Fairlands Custom Homes Ltd. ******THIS PERMIT HAS BEEN ISSUED UNDER THE REQUIREMENTS OF VBBL 2014***** | 575 W 23RD AVENUE | Vancouver | City of Vancouver | 703350 | issued | first-party permit record | https://canpermits.com/permit/903